## Sheet1
Location | Data Length | Build Type | Floor Area | Build Date | Wall Type | KWh Heat for period | Average Outdoor Temp over 90 days | Design Temp | W/m2 (dividing total heat by 90 days and 24 hours and muliplying by 2 to adjust to design temp) Approximate! | Average W/m2 (for coloured blocks of similar build type and age) at design temp approximate | Notes on outliers
Llanberis, Gwynedd | 90 days | Mid-terrace | 77 | Pre-1900 | Solid walls | 4402 | 6.5 | -3 | 52.9341 |  | small/large surface area?
Llanberis, Gwynedd | 89 days | Semi-detached | 70 | Pre-1900 | Solid walls | 4167 | 6.3 | -3 | 55.119
Fife, Scotland | 90 days | Semi-detached | 100 | Pre-1900 | Some insulation in walls and loft | 5352 | 3.7 | -5 | 49.5556 | 45.4298
Brynrefail, Gwynedd | 81 days | Semi-detached | 141 | Pre-1900 | Cavity wall, plus some loft insulation | 6790 | 6.4 | -3 | 44.5889
Whitchurch, Hampshire | 90 days | End-terrace | 96 | Pre-1900 | Some insulation in walls and loft | 3365 | 6.5 | -2.2 | 32.4556 |  | warmer area?
Machynlleth | 90 days | End-terrace | 150 | Pre-1900 | Solid walls | 6409 |  | -2 | 39.5617
Devon | 90 days | Detached | 144 | Pre-1900 | Solid walls | 7248 |  | -1.9 | 46.6049
Deiniolen, Gwynedd | 90 days | Detached | 99 | Pre-1900 | Some insulation in walls and loft | 4104 |  | -3 | 38.3838 | 45.5931
Cambridgeshire | 83 days | Detached | 150 | Pre-1900 | Some insulation in walls and loft | 7725 | 6.4 | -3 | 47.6852
Cadross, Dumbarton | 85 days | Detached | 123 | Pre-1900 | Solid walls | 6996 |  | -5 | 52.6649
Bristol | 90 days | Detached | 170 | Pre-1900 | Solid walls | 11404 |  | -2 | 62.1133 |  | high
Neyland, Pembrokeshire | 90 days | Bungalow | 79 | Pre-1900 | Some insulation in walls and loft | 2742 |  | 0 | 32.1378 |  | low
Gloucestershire | 90 days | Detached | 180 | Pre-1900 | Fully insulated walls, floors and loft | 4036 |  | -1 | 20.7613 | 22.9104
Telford | 90 days | Detached | 140 | Pre-1900 | Fully insulated walls, floors and loft | 3789 |  | -3 | 25.0595
Varese - Italy | 90 days | Semi-detached | 120 | 2012 or newer | Fully insulated walls, floors and loft | 4178 | 5.4 | -5 | 32.2377
Haywards Heath | 90 days | Semi-detached | 115 | 2012 or newer | Fully insulated walls, floors and loft | 3619 |  | -3 | 29.1385 | 30.6881
Stratford-upon-Avon | 90 days | Detached | 251 | 2012 or newer | Fully insulated walls, floors and loft | 9490 |  | -3 | 35.0081
St Albans | 90 days | Detached | 120 | 2012 or newer | Some insulation in walls and loft | 5116 |  | -3 | 39.4753
Sofia, Bulgaria | 89 days | Detached | 150 | 2012 or newer | Fully insulated walls, floors and loft | 4056 |  | -16 | 25.037 | 28.4809
Sheffield | 90 days | Detached | 267 | 2012 or newer | Fully insulated walls, floors and loft | 6669 |  | -3 | 23.1273
Preston | 90 days | Detached | 139 | 2012 or newer | Fully insulated walls, floors and loft | 2912 |  | -3 | 19.3978
Farnham, Surrey | 86 days | Detached | 150 | 2012 or newer | Fully insulated walls, floors and loft | 4672 |  | -2.2 | 28.8395
Reigate, Surrey | 89 days | Bungalow | 362 | 2012 or newer | Fully insulated walls, floors and loft | 5009 | 6 | 0 | 12.8121
Shirehampton Bristol | 90 days | Mid-terrace | 135 | 2012 or newer | Fully insulated walls, floors and loft | 1175 |  | -3 | 8.059
Derby | 89 days | Detached | 315 | 2012 or newer | Passivhaus | 2868 | 5.4 | 0 | 8.4303
Kidlington | 90 days | Semi-detached | 90.2 | 1983 to 2011 | Some insulation in walls and loft | 3755 |  | -3 | 38.546 | 32.2614
Edinburgh | 89 days | End-terrace | 200 | 1983 to 2011 | Fully insulated walls, floors and loft | 5611 |  | -5 | 25.9769
Wrexham, North Wales | 90 days | Detached | 300 | 1983 to 2011 | Cavity wall, plus some loft insulation | 8968 |  | -2 | 27.679
Weymouth | 90 days | Detached | 244 | 1983 to 2011 | Cavity wall, plus some loft insulation | 7607 | 9 | -3 | 28.8669
Sheffield | 83 days | Detached | 200 | 1983 to 2011 | Fully insulated walls, floors and loft | 8121 |  | -4 | 37.5972
Rushden, Northamptonshire | 90 days | Detached | 190 | 1983 to 2011 | Some insulation in walls and loft | 6550 |  | -2.4 | 31.9201
North Yorkshire | 90 days | Detached | 165 | 1983 to 2011 | Fully insulated walls, floors and loft | 4182 |  | -3 | 23.468
Newbury | 89 days | Detached | 150 | 1983 to 2011 | Fully insulated walls, floors and loft | 6512 |  | -4 | 40.1975
Ipswich | 89 days | Detached | 120 | 1983 to 2011 | Fully insulated walls, floors and loft | 7258 |  | -3 | 56.0031 | 33.6343 | high
Hatfield, Hertfordshire | 79 days | Detached | 134 | 1983 to 2011 | Some insulation in walls and loft | 2637 | 5.1 | -2.5 | 18.2214 |  | low
Fleet, Hampshire | 90 days | Detached | 160 | 1983 to 2011 | Fully insulated walls, floors and loft | 6447 |  | -3 | 37.309
Falkirk | 88 days | Detached | 100 | 1983 to 2011 | Fully insulated walls, floors and loft | 4807 |  | 0 | 44.5093
Ely, Cambridgeshire | 81 days | Detached | 210 | 1983 to 2011 | Cavity wall, plus some loft insulation | 5245 |  | -2 | 23.1261
Broxburn, West Lothian | 84 days | Detached | 185 | 1983 to 2011 | Fully insulated walls, floors and loft | 8006 |  | -5 | 40.0701
Basingstoke | 79 days | Detached | 230 | 1983 to 2011 | Fully insulated walls, floors and loft | 6131 |  | -3 | 24.682
Alcester, Warwickshire | 90 days | Detached | 210 | 1983 to 2011 | Some insulation in walls and loft | 9040 |  | -2 | 39.8589
(Laubeck) East riding of Yorkshire | 90 days | Detached | 150 | 1983 to 2011 | Cavity wall, plus some loft insulation | 5023 |  | -3 | 31.0062
Weston-super-Mare | 90 days | Semi-detached | 111 | 1940 to 1982 | Cavity wall, plus some loft insulation | 3825 |  | -1.7 | 31.9069
Reading | 90 days | Semi-detached | 120 | 1940 to 1982 | Fully insulated walls, floors and loft | 6744 |  | -3 | 52.037 |  | high
North Hertfordshire | 90 days | Semi-detached | 100 | 1940 to 1982 | Cavity wall, plus some loft insulation | 4266 |  | -2 | 39.5
Manchester | 90 days | Semi-detached | 92 | 1940 to 1982 | Some insulation in walls and loft | 3815 |  | -3 | 38.3957 | 41.0697
Llanfrothen, Gwynedd | 90 days | Semi-detached | 92 | 1940 to 1982 | Cavity wall, plus some loft insulation | 3420 |  | -3 | 34.4203
Kidderminster | 78 days | Semi-detached | 73 | 1940 to 1982 | Solid walls | 4370 |  | -3 | 55.4287 |  | high
Chelmsford, Essex | 90 days | Semi-detached | 125 | 1940 to 1982 | Cavity wall, plus some loft insulation | 4615 |  | 0 | 34.1852
Cambridge | 89 days | Semi-detached | 135 | 1940 to 1982 | Some insulation in walls and loft | 5229 |  | -3 | 35.8642
Banbury | 80 days | Semi-detached | 100 | 1940 to 1982 | Some insulation in walls and loft | 5172 |  | -3 | 47.8889
Bristol UK | 85 days | Mid-terrace | 75 | 1940 to 1982 | Some insulation in walls and loft | 2688 | 7.1 | -1.7 | 33.1852
Woodham, Surrey | 90 days | Detached | 142 | 1940 to 1982 | Some insulation in walls and loft | 5332 |  | -2 | 34.7679
Stroud | 90 days | Detached | 215 | 1940 to 1982 | Fully insulated walls, floors and loft | 6242 | 6.9 | -3 | 26.882 | 36.1967
Sleaford, Lincolnshire | 90 days | Detached | 214 | 1940 to 1982 | Cavity wall, plus some loft insulation | 8357 |  | -3.2 | 36.1587
Selby, Yorkshire | 90 days | Detached | 134 | 1940 to 1982 | Cavity wall, plus some loft insulation | 6253 | 6.1 | -3 | 43.2076
Reading UK | 80 days | Detached | 150 | 1940 to 1982 | Cavity wall, plus some loft insulation | 5948 | 7 | -2.2 | 36.716
Newport | 89 days | Detached | 230 | 1940 to 1982 | Fully insulated walls, floors and loft | 4322 |  | -2 | 17.3994 |  | low
Milton Keynes | 90 days | Detached | 210 | 1940 to 1982 | Some insulation in walls and loft | 8212 | 6.7 | -3 | 36.2081
Lichfield, UK | 77 days | Detached | 202 | 1940 to 1982 | Fully insulated walls, floors and loft | 7610 |  | -3 | 34.8827
Farnborough, Hampshire | 86 days | Detached | 100 | 1940 to 1982 | Some insulation in walls and loft | 5041 | 7 | -2 | 46.6759
Dinorwic, Gwynedd | 90 days | Detached | 168 | 1940 to 1982 | Cavity wall, plus some loft insulation | 8251 |  | -3 | 45.4751
Cuffley, Hertfordshire | 71 days | Detached | 150 | 1940 to 1982 | Some insulation in walls and loft | 5009 |  | -3 | 30.9198
Buckinghamshire | 90 days | Detached | 250 | 1940 to 1982 | Some insulation in walls and loft | 11585 | 6.1 | -2.1 | 42.9074
Bishop's Stortford | 89 days | Detached | 110 | 1940 to 1982 | Fully insulated walls, floors and loft | 3348 |  | 0 | 28.1818
Ackworth | 90 days | Detached | 134 | 1940 to 1982 | Cavity wall, plus some loft insulation | 5600 |  | 0 | 38.6954
Caversham | 88 days | Bungalow | 150 | 1940 to 1982 | Cavity wall, plus some loft insulation | 7203 |  | -2 | 44.463
Beddgelert, Gwynedd | 90 days | Bungalow | 120 | 1940 to 1982 | Fully insulated walls, floors and loft | 5005 |  | -3 | 38.6188
Swansea | 74 days | Semi-detached | 144 | 1900 to 1939 | Some insulation in walls and loft | 5840 |  | -3 | 37.5514
Sheffield | 90 days | Semi-detached | 98 | 1900 to 1939 | Some insulation in walls and loft | 4978 | 5.3 | -3 | 47.0333
Oxford | 90 days | End-terrace | 109 | 1900 to 1939 | Some insulation in walls and loft | 3706 |  | -3 | 31.4815 | 38.439
Huddersfield, West Yorkshire | 90 days | End-terrace | 166 | 1900 to 1939 | Some insulation in walls and loft | 6757 | 4.9 | -2 | 37.6896
St Albans | 86 days | Detached | 190 | 1900 to 1939 | Some insulation in walls and loft | 4734 |  | -3 | 23.0702
Sheffield | 90 days | Detached | 133 | 1900 to 1939 | Some insulation in walls and loft | 7740 |  | -3 | 53.8847
Mytchett, Surrey | 87 days | Detached | 140 | 1900 to 1939 | Cavity wall, plus some loft insulation | 5746 | 6.3 | -3 | 38.0026 | 39.6209
Croydon | 90 days | Detached | 241 | 1900 to 1939 | Some insulation in walls and loft | 10427 |  | -2.31 | 40.0607
Market Drayton, Shropshire | 90 days | Bungalow | 180 | 1900 to 1939 | Some insulation in walls and loft | 8376 | 5.2 | -3 | 43.0864
Manchester | 89 days | Semi-detached | 120 | 1900 to 1939 | Fully insulated walls, floors and loft | 3456 | 6.5 | -3 | 26.6667 | 26.5548
Bournemouth | 77 days | Bungalow | 120 | 1900 to 1939 | Fully insulated walls, floors and loft | 3427 | 8.5 | -1 | 26.4429

## Sheet2
Localtion | Data Length | Design temp | Build type | Property Age | Wall type | Area | KWh for period | Average | W/m2 | Ave W/m2
[8 empty] | Ambient Temp | heat load per m2 for building type at design temp approximation! | Average heat load at design temp for different build types |  | Heat for period divided by 30days and 24 hours and multiplied by 18/10 to adjust to design temp | An Approximate Heat Calculation Sizing Tool (Using Heat Pump Monitor Data) These figures are the approximate!! loads per m2 for different build types that have emerged from a recent analysis (Dec 2023 to Feb 2024) Using Heat Pump Monitor live data over the last 90 days, I totalled the heat used over the period, adjusted from KWh to KW and then adjusted to design temperature. Then averaged the data relevant to similar build types and ages. Hopefully these figures can be used similar to the 'Podesta Rule' by installers and householders for 'ball park' sizing of a heat calculation. With more data and better analysis maybe the numbers will make more sense/accuracy but for now..they could still help. Old solid brick.....around 48W/m2 (adjust for detached/semi/terraced) Cavity wall and partially insulated (any age up to 2012).....around 35W/m2 (adjust for detached/semi/terraced) Fully insulated (any age)....around 25W/m2 (adjust for detached/semi/terraced) @suburbanpirate
Swansea | 30 days | -3 | Semi-detached | 1900 to 1939 | Some insulation in walls and loft | 144 | 1993 |  | 34.6007 |  |  | 4.9825
Sheffield | 30 days | -3 | Semi-detached | 1900 to 1939 | Some insulation in walls and loft | 98 | 1474 | 5.8 | 39.691 |  |  | 3.8897 | Pre 1900 (solid brick) | 1900 to 1939 | 1940 to 1982 | 1983 to 2011 | Post 212 (fully insulated)
Sheffield | 30 days | -3.4 | End-terrace | 1900 to 1939 | Fully insulated walls, floors and loft | 110 | 1666 |  | 39.9672 |  |  | 4.3964 | Detached Fully Insulated 23Wm2 | Detached 32-40Wm2 | Detached 32-35Wm2 | Detached 30-34Wm2 | Detached 26-28Wm2
Oxford | 30 days | -3 | End-terrace | 1900 to 1939 | Some insulation in walls and loft | 109 | 993 |  | 24.0405 | 33.0562 |  | 2.6204 | Detached Solid Walls 42-49 Wm2 | Semi 33-38Wm2 | Semi 33-41Wm2 | Semi 29-32Wm2 | Semi 25-31Wm2
North London | 30 days | -3 | Semi-detached | 1900 to 1939 | Fully insulated walls, floors and loft | 200 | 3008 |  | 39.6889 |  |  | 7.9378 | Semi Detached Solid Wall 45- 48Wm2 | Fully Insulated 26Wm2
Manchester, United Kingdom | 30 days | 0 | Semi-detached | 1900 to 1939 | Fully insulated walls, floors and loft | 189 | 2084 |  | 29.0976 |  |  | 5.4994
Manchester | 30 days | -3 | Semi-detached | 1900 to 1939 | Fully insulated walls, floors and loft | 120 | 1076 | 7.3 | 23.662 |  |  | 2.8394
Huddersfield, West Yorkshire | 30 days | -2 | End-terrace | 1900 to 1939 | Some insulation in walls and loft | 166 | 2120 | 5.4 | 33.7015 |  |  | 5.5944
Harpenden | 30 days | -2 | Detached | 1900 to 1939 | Some insulation in walls and loft | 170 | 1711 |  | 26.5596 |  |  | 4.5151
Croydon | 30 days | -2.31 | Detached | 1900 to 1939 | Some insulation in walls and loft | 241 | 3024 |  | 33.112 |  |  | 7.98
Medstead, Hampshire | 29 days | -2.95 | Bungalow | 1900 to 1939 | Cavity wall, plus some loft insulation | 143 | 1837 |  | 33.8996 |  |  | 4.8476
Market Drayton, Shropshire | 30 days | -3 | Bungalow | 1900 to 1939 | Some insulation in walls and loft | 180 | 2262 | 4.3 | 33.162 |  |  | 5.9692
Bournemouth | 30 days | -1 | Bungalow | 1900 to 1939 | Fully insulated walls, floors and loft | 120 | 1190 | 9.9 | 26.169 | 31.3795 |  | 3.1403
Mytchett, Surrey | 30 days | -3 | Detached | 1900 to 1939 | Cavity wall, plus some loft insulation | 140 | 1675 | 7 | 31.5724 |  |  | 4.4201
St Albans | 30 days | -3 | Detached | 1900 to 1939 | Some insulation in walls and loft | 190 | 1461 |  | 20.2917 |  |  | 3.8554
Sheffield | 30 days | -3 | Detached | 1900 to 1939 | Some insulation in walls and loft | 133 | 2332 |  | 46.2698 |  |  | 6.1539
Bristol UK | 30 days | -1.7 | Mid-terrace | 1940 to 1982 | Some insulation in walls and loft | 75 | 818 | 8.1 | 28.7815 |  |  | 2.1586
Weston-super-Mare | 30 days | -1.7 | Semi-detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 111 | 1144 |  | 27.1972 |  |  | 3.0189
Warwick | 29 days | -3 | Semi-detached | 1940 to 1982 | Some insulation in walls and loft | 96 | 1234 |  | 33.9207 |  |  | 3.2564
Thame | 30 days | -2 | Semi-detached | 1940 to 1982 | Fully insulated walls, floors and loft | 200 | 1388 |  | 18.3139 |  |  | 3.6628
Reading | 30 days | -3 | Semi-detached | 1940 to 1982 | Fully insulated walls, floors and loft | 120 | 1929 |  | 42.4201 |  |  | 5.0904
North Hertfordshire | 30 days | -2 | Semi-detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 100 | 1198 |  | 31.6139 | 33.4935 |  | 3.1614
Manchester | 30 days | -3 | Semi-detached | 1940 to 1982 | Some insulation in walls and loft | 92 | 1299 |  | 37.26 |  |  | 3.4279
Llanfrothen, Gwynedd | 30 days | -3 | Semi-detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 92 | 995 |  | 28.5402 |  |  | 2.6257
Lightwater | 30 days | 5 | End-terrace | 1940 to 1982 | Some insulation in walls and loft | 100 | 1654 |  | 43.6472 |  |  | 4.3647
Chelmsford, Essex | 30 days | 0 | Semi-detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 125 | 1124 |  | 23.7289 |  |  | 2.9661
Cambridge | 30 days | -3 | Semi-detached | 1940 to 1982 | Some insulation in walls and loft | 135 | 1459 |  | 28.5195 |  |  | 3.8501
Basingstoke Hants | 30 days | -2 | Semi-detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 120 | 2554 |  | 56.1644 |  |  | 6.7397
Banbury | 24 days | -3 | Semi-detached | 1940 to 1982 | Some insulation in walls and loft | 100 | 1338 |  | 35.3083 |  |  | 3.5308
Woodham, Surrey | 30 days | -2 | Detached | 1940 to 1982 | Some insulation in walls and loft | 142 | 1498 |  | 27.8384 |  |  | 3.9531
Stroud | 30 days | -3 | Detached | 1940 to 1982 | Fully insulated walls, floors and loft | 215 | 1804 | 8 | 22.1421 |  |  | 4.7606
Sleaford, Lincolnshire | 30 days | -3.2 | Detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 214 | 2352 |  | 29.0031 |  |  | 6.2067
Selby, Yorkshire | 30 days | -3 | Detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 134 | 1775 | 6.9 | 34.9554 |  |  | 4.684
Reading UK | 28 days | -2.2 | Detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 150 | 1995 | 8.1 | 35.0972 |  |  | 5.2646
Newport | 30 days | -2 | Detached | 1940 to 1982 | Fully insulated walls, floors and loft | 230 | 1354 |  | 15.535 |  |  | 3.5731
Milton Keynes | 30 days | -3 | Detached | 1940 to 1982 | Some insulation in walls and loft | 210 | 2400 | 7.8 | 30.1587 |  |  | 6.3333
Lichfield, UK | 30 days | -3 | Detached | 1940 to 1982 | Fully insulated walls, floors and loft | 202 | 3476 |  | 45.4098 |  |  | 9.1728
Hertfordshire | 28 days | -2 | Detached | 1940 to 1982 | Some insulation in walls and loft | 135 | 1305 | 7.1 | 25.5093 | 31.7082 |  | 3.4438
Farnborough, Hampshire | 30 days | -2 | Detached | 1940 to 1982 | Some insulation in walls and loft | 100 | 1510 | 7.9 | 39.8472 |  |  | 3.9847
Dinorwic, Gwynedd | 30 days | -3 | Detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 168 | 2541 |  | 39.9132 |  |  | 6.7054
Derby | 30 days | -2 | Detached | 1940 to 1982 | Some insulation in walls and loft | 168 | 1989 |  | 31.2426 |  |  | 5.2488
Cuffley, Hertfordshire | 30 days | -3 | Detached | 1940 to 1982 | Some insulation in walls and loft | 150 | 1690 |  | 29.7315 |  |  | 4.4597
Cheltenham | 30 days | -3.3 | Detached | 1940 to 1982 | Some insulation in walls and loft | 133 | 1498 | 7.9 | 29.7222 |  |  | 3.9531
Caversham | 30 days | -2 | Bungalow | 1940 to 1982 | Cavity wall, plus some loft insulation | 150 | 2261 |  | 39.7769 |  |  | 5.9665
Buckinghamshire | 30 days | -2.1 | Detached | 1940 to 1982 | Some insulation in walls and loft | 250 | 3585 | 6.9 | 37.8417 |  |  | 9.4604
Bishop's Stortford | 30 days | 0 | Detached | 1940 to 1982 | Fully insulated walls, floors and loft | 110 | 922 |  | 22.1187 |  |  | 2.4331
Beddgelert, Gwynedd | 30 days | -3 | Bungalow | 1940 to 1982 | Fully insulated walls, floors and loft | 120 | 1616 |  | 35.537 |  |  | 4.2644
Ackworth | 30 days | 0 | Detached | 1940 to 1982 | Cavity wall, plus some loft insulation | 134 | 1578 |  | 31.0759 |  |  | 4.1642
West Oxfordshire | 30 days | -2 | Semi-detached | 1983 to 2011 | Fully insulated walls, floors and loft | 131 | 1537 | 8.3 | 30.9616 |  |  | 4.056
Kidlington | 30 days | -3 | Semi-detached | 1983 to 2011 | Some insulation in walls and loft | 90.2 | 1108 |  | 32.4156 | 28.9237 |  | 2.9239
Edinburgh | 30 days | -5 | End-terrace | 1983 to 2011 | Fully insulated walls, floors and loft | 200 | 1773 |  | 23.3938 |  |  | 4.6787
Wrexham, North Wales | 30 days | -2 | Detached | 1983 to 2011 | Cavity wall, plus some loft insulation | 300 | 2611 |  | 22.9671 |  |  | 6.8901
Weymouth | 30 days | -3 | Detached | 1983 to 2011 | Cavity wall, plus some loft insulation | 244 | 2242 | 9.8 | 24.2475 |  |  | 5.9164
West Yorkshire | 30 days | -5.2 | Detached | 1983 to 2011 | Some insulation in walls and loft | 170 | 1971 | 5.2 | 30.5956 |  |  | 5.2012
Sheffield | 29 days | -4 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 200 | 2580 |  | 34.0417 |  |  | 6.8083
Rushden, Northamptonshire | 30 days | -2.4 | Detached | 1983 to 2011 | Some insulation in walls and loft | 190 | 1834 |  | 25.4722 |  |  | 4.8397
North Yorkshire | 30 days | -3 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 165 | 1410 |  | 22.5505 |  |  | 3.7208
Newbury | 29 days | -4 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 150 | 1974 |  | 34.7278 |  |  | 5.2092
Ipswich | 30 days | -3 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 120 | 1882 |  | 41.3866 |  |  | 4.9664
High Wycombe, Buckinghamshire | 26 days | -2 | Detached | 1983 to 2011 | Some insulation in walls and loft | 62 | 982 |  | 41.7966 | small house |  | 2.5914
Hatfield, Hertfordshire | 30 days | -2.5 | Detached | 1983 to 2011 | Some insulation in walls and loft | 134 | 817 | 6.9 | 16.0893 |  |  | 2.156
Gwent | 30 days | 0 | Detached | 1983 to 2011 | Cavity wall, plus some loft insulation | 211 | 1771 |  | 22.1492 | 30.3202 |  | 4.6735
Frimley | 30 days | -2 | Detached | 1983 to 2011 | Some insulation in walls and loft | 80 | 860 |  | 28.3681 | small house |  | 2.2694
Fleet, Hampshire | 30 days | -3 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 160 | 2010 |  | 33.151 |  |  | 5.3042
Finchampstead | 28 days | -2 | Detached | 1983 to 2011 | Cavity wall, plus some loft insulation | 160 | 3122 |  | 51.4913 |  |  | 8.2386
Falkirk | 29 days | 0 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 100 | 1478 |  | 39.0028 |  |  | 3.9003
Ely, Cambridgeshire | 30 days | -2 | Detached | 1983 to 2011 | Cavity wall, plus some loft insulation | 210 | 1578 |  | 19.8294 |  |  | 4.1642
East Midlands | 30 days | -3.4 | Detached | 1983 to 2011 | Cavity wall, plus some loft insulation | 229 | 2645 | 7.9 | 30.4797 |  |  | 6.9799
Broxburn, West Lothian | 30 days | -5 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 185 | 2622 |  | 37.4009 |  |  | 6.9192
Berlin, Germany | 30 days | -12 | Detached | 1983 to 2011 | Some insulation in walls and loft | 125 | 1456 | 5.2 | 30.7378 |  |  | 3.8422
Basingstoke | 30 days | -3 | Detached | 1983 to 2011 | Fully insulated walls, floors and loft | 230 | 1876 |  | 21.5242 |  |  | 4.9506
Alcester, Warwickshire | 30 days | -2 | Detached | 1983 to 2011 | Some insulation in walls and loft | 210 | 2668 |  | 33.5265 |  |  | 7.0406
(Laubeck) East riding of Yorkshire | 30 days | -3 | Detached | 1983 to 2011 | Cavity wall, plus some loft insulation | 150 | 1450 |  | 25.5093 |  |  | 3.8264
Varese - Italy | 30 days | -5 | Semi-detached | 2012 or newer | Fully insulated walls, floors and loft | 120 | 1105 | 6.9 | 24.2998 | 25.1149 |  | 2.916
Haywards Heath | 30 days | -3 | Semi-detached | 2012 or newer | Fully insulated walls, floors and loft | 115 | 1130 |  | 25.93 |  |  | 2.9819
Sheffield | 30 days | -3 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 267 | 2001 |  | 19.7768 |  |  | 5.2804
Swindon | 30 days | -3 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 170 | 1514 | 7.8 | 23.5016 |  |  | 3.9953
Stratford-upon-Avon | 30 days | -3 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 251 | 2785 |  | 29.2801 |  |  | 7.3493
St Albans | 30 days | -3 | Detached | 2012 or newer | Some insulation in walls and loft | 120 | 1623 |  | 35.691 | 25.7897 |  | 4.2829
Sofia, Bulgaria | 30 days | -16 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 150 | 1049 |  | 18.4546 |  |  | 2.7682
Preston | 30 days | -3 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 139 | 794 |  | 15.0739 |  |  | 2.0953
Neath Port Talbot | 30 days | -1.6 | Detached | 2012 or newer | Some insulation in walls and loft | 110 | 1420 | 8.2 | 34.0657 |  |  | 3.7472
Farnham, Surrey | 27 days | -2.2 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 150 | 1280 |  | 22.5185 |  |  | 3.3778
Cambridgeshire | 30 days | -3 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 190 | 2574 | 7.1 | 35.75 |  |  | 6.7925
Cairngorms National Park, Scotland | 26 days | -5 | Detached | 2012 or newer | Fully insulated walls, floors and loft | 228 | 2055 | 2 | 23.7847 |  |  | 5.4229
Reigate, Surrey | 30 days | 0 | Bungalow | 2012 or newer | Fully insulated walls, floors and loft | 362 | 1143 | 7.1 | 8.3322 |  |  | 3.0162
Derby | 30 days | 0 | Detached | 2012 or newer | Passivhaus | 315 | 770 | 5.5 | 6.4506 |  |  | 2.0319
Llanberis, Gwynedd | 30 days | -3 | Mid-terrace | Pre-1900 | Solid walls | 77 | 1401 | 7.2 | 48.0141 |  | small house | 3.6971
Llanberis, Gwynedd | 30 days | -3 | Semi-detached | Pre-1900 | Solid walls | 70 | 1443 | 7.1 | 54.3988 |  | small house | 3.8079
Fife, Scotland | 30 days | -5 | Semi-detached | Pre-1900 | Some insulation in walls and loft | 100 | 1630 | 4.6 | 43.0139 | 48.4756 |  | 4.3014
Machynlleth | 30 days | -2 | End-terrace | Pre-1900 | Solid walls | 150 | 1618 |  | 28.4648 |  | too low? | 4.2697
Whitchurch, Hampshire | 30 days | -2.2 | End-terrace | Pre-1900 | Some insulation in walls and loft | 96 | 1006 | 7.8 | 27.6534 |  | too low? | 2.6547
North Yorkshire | 30 days | -2.2 | Detached | Pre-1900 | Some insulation in walls and loft | 147 | 2477 |  | 44.4662 |  |  | 6.5365
Neyland, Pembrokeshire | 30 days | 0 | Bungalow | Pre-1900 | Some insulation in walls and loft | 79 | 816 |  | 27.2574 |  |  | 2.1533
Mayfield, East Sussex | 29 days | 0 | Detached | Pre-1900 | Some insulation in walls and loft | 200 | 3183 |  | 41.9979 |  |  | 8.3996
Malton, North Yorkshire | 29 days | -4 | Detached | Pre-1900 | Solid walls | 150 | 2064 |  | 36.3111 | 41.8224 |  | 5.4467
Devon | 30 days | -1.9 | Detached | Pre-1900 | Solid walls | 144 | 2104 |  | 38.5571 |  |  | 5.5522
Cambridgeshire | 30 days | -3 | Detached | Pre-1900 | Some insulation in walls and loft | 150 | 2631 | 7.7 | 46.2861 |  |  | 6.9429
Cadross, Dumbarton | 29 days | -5 | Detached | Pre-1900 | Solid walls | 123 | 2214 |  | 47.5 |  |  | 5.8425
Bristol | 30 days | -2 | Detached | Pre-1900 | Solid walls | 170 | 3363 |  | 52.2034 |  |  | 8.8746
Telford | 30 days | -3 | Detached | Pre-1900 | Fully insulated walls, floors and loft | 140 | 1173 |  | 22.1101 |  |  | 3.0954
Brighton & Hove | 29 days | -2.1 | Mid-terrace | Pre-1900 | Fully insulated walls, floors and loft | 78 | 768 |  | 25.9829 | 22.9171 |  | 2.0267
Gloucestershire | 30 days | -1 | Detached | Pre-1900 | Fully insulated walls, floors and loft | 180 | 1155 |  | 16.9329 |  |  | 3.0479
Gallt-y-foel, Gwynedd | 26 days | -3 | Detached | Pre-1900 | Fully insulated walls, floors and loft | 133 | 1858 | 6.7 | 36.8651 |  |  | 4.9031
Devon, Mid | 30 days | 0 | Detached | Pre-1900 | Fully insulated walls, floors and loft | 190 | 914 |  | 12.6944 |  |  | 2.4119

## Sheet3
Swansea | 30 days | Semi-detached | 144 | 1900 to 1939 | Some insulation in walls and loft |  | 13.2 | -3 | -0.69474
Weymouth | 30 days | Detached | 244 | 1983 to 2011 | Cavity wall, plus some loft insulation | 6405 W | 13.2 | -3 | -0.69474
Bournemouth | 30 days | Bungalow | 120 | 1900 to 1939 | Fully insulated walls, floors and loft | 2217 W | 9.8 | -1 | -0.57647
Weston-super-Mare | 30 days | Semi-detached | 111 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 9.5 | -1.7 | -0.53672
High Wycombe, Buckinghamshire | 26 days | Detached | 62 | 1983 to 2011 | Some insulation in walls and loft |  | 9.3 | -2 | -0.51667
Bristol UK | 30 days | Mid-terrace | 75 | 1940 to 1982 | Some insulation in walls and loft | 2523 W | 9.2 | -1.7 | -0.51977
Cuffley, Hertfordshire | 30 days | Detached | 150 | 1940 to 1982 | Some insulation in walls and loft |  | 9.2 | -3 | -0.48421
Reigate, Surrey | 30 days | Bungalow | 362 | 2012 or newer | Fully insulated walls, floors and loft | 3876 W | 9.2 | 0 | -0.575
Bishop's Stortford | 30 days | Detached | 110 | 1940 to 1982 | Fully insulated walls, floors and loft |  | 9.2 | 0 | -0.575
Croydon | 30 days | Detached | 241 | 1900 to 1939 | Some insulation in walls and loft |  | 9.2 | -2.31 | -0.50246
North London | 30 days | Semi-detached | 200 | 1900 to 1939 | Fully insulated walls, floors and loft |  | 9.2 | -3 | -0.48421
Devon, Mid | 30 days | Detached | 190 | Pre-1900 | Fully insulated walls, floors and loft |  | 9.1 | 0 | -0.56875
Basingstoke Hants | 30 days | Semi-detached | 120 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 8.9 | -2 | -0.49444
West Oxfordshire | 30 days | Semi-detached | 131 | 1983 to 2011 | Fully insulated walls, floors and loft | 2478 W | 8.6 | -2 | -0.47778
Shirehampton Bristol | 30 days | Mid-terrace | 135 | 2012 or newer | Fully insulated walls, floors and loft |  | 8.5 | -3 | -0.44737
Stroud | 30 days | Detached | 215 | 1940 to 1982 | Fully insulated walls, floors and loft | 3286 W | 8.5 | -3 | -0.44737
Milton Keynes | 30 days | Detached | 210 | 1940 to 1982 | Some insulation in walls and loft | 4964 W | 8.5 | -3 | -0.44737
Cambridgeshire | 30 days | Detached | 150 | Pre-1900 | Some insulation in walls and loft | 5700 W | 8.5 | -3 | -0.44737
Camberley, Surrey | 30 days | Office building | 80 | 1940 to 1982 | Non-insulated cavity wall |  | 8.5 | -3 | -0.44737
Reading UK | 28 days | Detached | 150 | 1940 to 1982 | Cavity wall, plus some loft insulation | 3344 W | 8.4 | -2.2 | -0.46154
Brighton & Hove | 29 days | Mid-terrace | 78 | Pre-1900 | Fully insulated walls, floors and loft |  | 8.4 | -2.1 | -0.46409
Cheltenham | 30 days | Detached | 133 | 1940 to 1982 | Some insulation in walls and loft | 3858 W | 8.4 | -3.3 | -0.43523
Neath Port Talbot | 30 days | Detached | 110 | 2012 or newer | Some insulation in walls and loft | 3721 W | 8.3 | -1.6 | -0.47159
Lichfield, UK | 30 days | Detached | 202 | 1940 to 1982 | Fully insulated walls, floors and loft |  | 8.3 | -3 | -0.43684
Ipswich | 30 days | Detached | 120 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 8.2 | -3 | -0.43158
Cambridge | 30 days | Semi-detached | 135 | 1940 to 1982 | Some insulation in walls and loft |  | 8.2 | -3 | -0.43158
Swindon | 30 days | Detached | 170 | 2012 or newer | Fully insulated walls, floors and loft | 2184 W | 8.2 | -3 | -0.43158
Hatfield, Hertfordshire | 30 days | Detached | 134 | 1983 to 2011 | Some insulation in walls and loft | 2320 W | 8.2 | -2.5 | -0.44324
Ely, Cambridgeshire | 30 days | Detached | 210 | 1983 to 2011 | Cavity wall, plus some loft insulation |  | 8.1 | -2 | -0.45
North Hertfordshire | 30 days | Semi-detached | 100 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 8.1 | -2 | -0.45
Haywards Heath | 30 days | Semi-detached | 115 | 2012 or newer | Fully insulated walls, floors and loft |  | 8.1 | -3 | -0.42632
Stratford-upon-Avon | 30 days | Detached | 251 | 2012 or newer | Fully insulated walls, floors and loft |  | 8.1 | -3 | -0.42632
Basingstoke | 30 days | Detached | 230 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 8.1 | -3 | -0.42632
Alcester, Warwickshire | 30 days | Detached | 210 | 1983 to 2011 | Some insulation in walls and loft |  | 8.1 | -2 | -0.45
Farnborough, Hampshire | 30 days | Detached | 100 | 1940 to 1982 | Some insulation in walls and loft | 2555 W | 8.1 | -2 | -0.45
Woodham, Surrey | 30 days | Detached | 142 | 1940 to 1982 | Some insulation in walls and loft |  | 8.1 | -2 | -0.45
Fleet, Hampshire | 30 days | Detached | 160 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 8.1 | -3 | -0.42632
Rushden, Northamptonshire | 30 days | Detached | 190 | 1983 to 2011 | Some insulation in walls and loft |  | 8.1 | -2.4 | -0.44022
Frimley | 30 days | Detached | 76 | 1983 to 2011 | Some insulation in walls and loft |  | 8.1 | -2 | -0.45
Medstead, Hampshire | 29 days | Bungalow | 143 | 1900 to 1939 | Cavity wall, plus some loft insulation |  | 8.1 | -2.95 | -0.42744
Lightwater | 30 days | End-terrace | 100 | 1940 to 1982 | Some insulation in walls and loft |  | 8.1 | 5 | -0.73636
Mytchett, Surrey | 30 days | Detached | 140 | 1900 to 1939 | Cavity wall, plus some loft insulation | 3373 W | 8 | -3 | -0.42105
Hertfordshire | 28 days | Detached | 135 | 1940 to 1982 | Some insulation in walls and loft | 4480 W | 8 | -2 | -0.44444
Varese - Italy | 30 days | Semi-detached | 120 | 2012 or newer | Fully insulated walls, floors and loft | 2661 W | 8 | -5 | -0.38095
Cambridgeshire | 30 days | Detached | 190 | 2012 or newer | Fully insulated walls, floors and loft | 4936 W | 8 | -3 | -0.42105
Finchampstead | 28 days | Detached | 160 | 1983 to 2011 | Cavity wall, plus some loft insulation |  | 8 | -2 | -0.44444
East Midlands | 30 days | Detached | 229 | 1983 to 2011 | Cavity wall, plus some loft insulation | 6235 W | 8 | -3.4 | -0.41237
Reading | 30 days | Semi-detached | 120 | 1940 to 1982 | Fully insulated walls, floors and loft |  | 7.9 | -3 | -0.41579
Caversham | 30 days | Bungalow | 150 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 7.9 | -2 | -0.43889
Carlby, STAMFORD | 30 days | Detached | 184 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 7.9 | -3 | -0.41579
Devon | 30 days | Detached | 144 | Pre-1900 | Solid walls |  | 7.8 | -1.9 | -0.43575
Farnham, Surrey | 27 days | Detached | 150 | 2012 or newer | Fully insulated walls, floors and loft |  | 7.8 | -2.2 | -0.42857
Sleaford, Lincolnshire | 30 days | Detached | 214 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 7.7 | -3.2 | -0.40104
St Albans | 30 days | Detached | 120 | 2012 or newer | Some insulation in walls and loft |  | 7.7 | -3 | -0.40526
Derby | 30 days | Detached | 315 | 2012 or newer | Passivhaus | 8780 W | 7.7 | 0 | -0.48125
Telford | 30 days | Detached | 140 | Pre-1900 | Fully insulated walls, floors and loft |  | 7.6 | -3 | -0.4
Oxford | 30 days | End-terrace | 109 | 1900 to 1939 | Some insulation in walls and loft |  | 7.6 | -3 | -0.4
Buckinghamshire | 30 days | Detached | 250 | 1940 to 1982 | Some insulation in walls and loft | 6112 W | 7.6 | -2.1 | -0.41989
Harpenden | 30 days | Detached | 170 | 1900 to 1939 | Some insulation in walls and loft |  | 7.6 | -2 | -0.42222
Thame | 30 days | Semi-detached | 200 | 1940 to 1982 | Fully insulated walls, floors and loft |  | 7.6 | -2 | -0.42222
St Albans | 30 days | Detached | 190 | 1900 to 1939 | Some insulation in walls and loft |  | 7.6 | -3 | -0.4
Kidlington | 30 days | Semi-detached | 90.2 | 1983 to 2011 | Some insulation in walls and loft |  | 7.6 | -3 | -0.4
(Laubeck) East riding of Yorkshire | 30 days | Detached | 150 | 1983 to 2011 | Cavity wall, plus some loft insulation |  | 7.6 | -3 | -0.4
North Yorkshire | 30 days | Detached | 165 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 7.5 | -3 | -0.39474
North Yorkshire | 30 days | Detached | 147 | Pre-1900 | Some insulation in walls and loft |  | 7.5 | -2.2 | -0.41209
Llanberis, Gwynedd | 30 days | Mid-terrace | 77 | Pre-1900 | Solid walls | 2899 W | 7.5 | -3 | -0.39474
Beddgelert, Gwynedd | 30 days | Bungalow | 120 | 1940 to 1982 | Fully insulated walls, floors and loft |  | 7.4 | -3 | -0.38947
Banbury | 24 days | Semi-detached | 100 | 1940 to 1982 | Some insulation in walls and loft |  | 7.4 | -3 | -0.38947
Manchester, United Kingdom | 30 days | Semi-detached | 189 | 1900 to 1939 | Fully insulated walls, floors and loft |  | 7.4 | 0 | -0.4625
Llanberis, Gwynedd | 30 days | Semi-detached | 70 | Pre-1900 | Solid walls | 2246 W | 7.4 | -3 | -0.38947
Gloucestershire | 30 days | Detached | 180 | Pre-1900 | Fully insulated walls, floors and loft |  | 7.4 | -1 | -0.43529
Newbury | 29 days | Detached | 150 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 7.3 | -4 | -0.365
Machynlleth | 30 days | End-terrace | 150 | Pre-1900 | Solid walls |  | 7.3 | -2 | -0.40556
Ackworth | 30 days | Detached | 134 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 7.3 | 0 | -0.45625
Gwent | 30 days | Detached | 211 | 1983 to 2011 | Cavity wall, plus some loft insulation |  | 7.3 | 0 | -0.45625
Warwick | 29 days | Semi-detached | 96 | 1940 to 1982 | Some insulation in walls and loft |  | 7.3 | -3 | -0.38421
Llanfrothen, Gwynedd | 30 days | Semi-detached | 92 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 7.2 | -3 | -0.37895
Derby | 30 days | Detached | 168 | 1940 to 1982 | Some insulation in walls and loft |  | 7.2 | -2 | -0.4
Deiniolen, Gwynedd | 30 days | Detached | 99 | Pre-1900 | Some insulation in walls and loft |  | 7.1 | -3 | -0.37368
Dinorwic, Gwynedd | 30 days | Detached | 168 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 7 | -3 | -0.36842
Gallt-y-foel, Gwynedd | 26 days | Detached | 133 | Pre-1900 | Fully insulated walls, floors and loft | 2940 W | 6.9 | -3 | -0.36316
Berlin, Germany | 30 days | Detached | 125 | 1983 to 2011 | Some insulation in walls and loft | 5572 W | 6.7 | -12 | -0.23929
Cadross, Dumbarton | 29 days | Detached | 123 | Pre-1900 | Solid walls |  | 6.4 | -5 | -0.30476
Wrexham, North Wales | 30 days | Detached | 300 | 1983 to 2011 | Cavity wall, plus some loft insulation |  | 6.2 | -2 | -0.34444
Huddersfield, West Yorkshire | 30 days | End-terrace | 166 | 1900 to 1939 | Some insulation in walls and loft | 3999 W | 6.1 | -2 | -0.33889
Broxburn, West Lothian | 30 days | Detached | 185 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 6 | -5 | -0.28571
Newport | 30 days | Detached | 230 | 1940 to 1982 | Fully insulated walls, floors and loft |  | 6 | -2 | -0.33333
Edinburgh | 30 days | End-terrace | 200 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 6 | -5 | -0.28571
West Yorkshire | 30 days | Detached | 170 | 1983 to 2011 | Some insulation in walls and loft | 6210 W | 5.8 | -5.2 | -0.27358
Fife, Scotland | 30 days | Semi-detached | 100 | Pre-1900 | Some insulation in walls and loft | 3557 W | 5.6 | -5 | -0.26667
Falkirk | 29 days | Detached | 100 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 5.1 | 0 | -0.31875
Chelmsford, Essex | 30 days | Semi-detached | 125 | 1940 to 1982 | Cavity wall, plus some loft insulation |  | 3.8 | 0 | -0.2375
Cairngorms National Park, Scotland | 26 days | Detached | 228 | 2012 or newer | Fully insulated walls, floors and loft | 3603 W | 2.4 | -5 | -0.11429
Bristol | 30 days | Detached | 170 | Pre-1900 | Solid walls |  | 8.2 | -2 | -0.45556
Malton, North Yorkshire | 29 days | Detached | 150 | Pre-1900 | Solid walls |  | 8.1 | -4 | -0.405
Manchester | 30 days | Semi-detached | 120 | 1900 to 1939 | Fully insulated walls, floors and loft | 1888 W | 7.6 | -3 | -0.4
Manchester | 30 days | Semi-detached | 92 | 1940 to 1982 | Some insulation in walls and loft |  | 7.4 | -3 | -0.38947
Market Drayton, Shropshire | 30 days | Bungalow | 180 | 1900 to 1939 | Some insulation in walls and loft | 4743 W | 4.8 | -3 | -0.25263
Mayfield, East Sussex | 29 days | Detached | 200 | Pre-1900 | Some insulation in walls and loft |  | 0 | 0 | 0
Neyland, Pembrokeshire | 30 days | Bungalow | 79 | Pre-1900 | Some insulation in walls and loft |  | 8.7 | 0 | -0.54375
Sofia, Bulgaria | 30 days | Detached | 150 | 2012 or newer | Fully insulated walls, floors and loft |  | 6.7 | -16 | -0.20938
Sheffield | 29 days | Detached | 200 | 1983 to 2011 | Fully insulated walls, floors and loft |  | 5.8 | -4 | -0.29
Sheffield | 30 days | Detached | 133 | 1900 to 1939 | Some insulation in walls and loft |  | 5.2 | -3 | -0.27368
Preston | 30 days | Detached | 139 | 2012 or newer | Fully insulated walls, floors and loft |  | 0 | -3 | 0
Selby, Yorkshire | 30 days | Detached | 134 | 1940 to 1982 | Cavity wall, plus some loft insulation | 5010 W | 7.8 | -3 | -0.41053
Sheffield | 30 days | Semi-detached | 98 | 1900 to 1939 | Some insulation in walls and loft | 2532 W | 6.8 | -3 | -0.35789
Sheffield | 30 days | End-terrace | 110 | 1900 to 1939 | Fully insulated walls, floors and loft |  | 5.2 | -3.4 | -0.26804
Sheffield | 30 days | Detached | 267 | 2012 or newer | Fully insulated walls, floors and loft |  | 5.2 | -3 | -0.27368
Whitchurch, Hampshire | 30 days | End-terrace | 96 | Pre-1900 | Some insulation in walls and loft | 2072 W | 8.2 | -2.2 | -0.45055